{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Восстановл_Лист1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Восстановл_Лист1","index":0,"n_rows":29,"n_cols":11,"rows_kept":29,"cut":false,"hidden":false,"merged":[[21,0,21,3],[21,4,21,5],[22,0,22,5],[27,0,27,3],[27,4,27,11],[28,0,28,3],[28,4,28,11],[4,0,4,1],[4,2,4,11],[5,0,5,1],[5,2,5,11],[6,0,6,5],[20,0,20,3],[20,4,20,5],[0,0,0,10],[1,0,1,1],[1,2,1,11],[2,0,2,1],[2,2,2,11],[3,0,3,1],[3,2,3,11]]}
["Отчет за период с 24.02.2014 до 06.03.2014"]
["Абонент:",null,"№ 4058   ООО \"Первая управляющая компания\""]
["Адрес установки:",null,"Кемерово, ул. Ю.Двужильного, 10"]
["Тепловычислитель:",null,"SKM-01"]
["Заводской № :",null,33410]
["Отчет сформирован:",null,"2014-03-06"]
["Ведомость регистрации параметров:"]
["Time","dE,Gcal","dM1,t","dM2,t","dM1-dM2,t","T1,°C","T2,°C","dTrun,h","pp1, bar","pp2, bar","Error,"]
[1,2,3,4,5,6,7,8,9,10,11]
["2014-02-24",7.27,326.2,279.5,46.7,87.46,49.36,24,7.0860000000000003,4.29,0]
["2014-02-25",14.35,327.9,287.2,40.700000000000003,95.56,51.89,24,7.024,4.1760000000000002,0]
["2014-02-26",15.38,337.6,298.2,39.4,100.04,54.6,24,7.13,4.1139999999999999,0]
["2014-02-27",14.2,336.4,298.89999999999998,37.5,95.47,53.31,24,7.1159999999999997,4.1139999999999999,0]
["2014-02-28",13.22,336.2,299.39999999999998,36.799999999999997,91.42,52.13,24,7.1280000000000001,4.1139999999999999,0]
["2014-03-01",12.73,336.7,293.7,43,89.36,51.59,24,7.11,4.1079999999999997,0]
["2014-03-02",12.26,333.8,280.39999999999998,53.4,87.34,50.68,24,7.0060000000000002,4.09,0]
["2014-03-03",4.6900000000000004,322.3,280.8,41.5,86.49,50.09,9.48,7.0359999999999996,4.1479999999999997,0]
["2014-03-04",11.11,315.60000000000002,275.39999999999998,40.200000000000003,83.34,48.14,24,6.79,4.1360000000000001,0]
["2014-03-05",10.69,315.2,271.60000000000002,43.6,81.27,47.38,24,6.7080000000000002,4.12,0]
[10,115.9,3287.9,2865.1,422.8,89.775000000000006,50.917000000000002,225.48,7.0860000000000003,4.29,"- - -"]
["Общее время работы системы",null,null,null,"240,00 час."]
["Период нормальной работы",null,null,null,"225,48 час."]
["Показание интеграторов:"]
["Time","E,Gcal","M1,t","M2,t","M1-M2,t","Trun,h"]
[1,2,3,4,5,6]
["2014-02-21T09:28:43",10290.89,330482.40000000002,289560.09999999998,40922.300000000003,28916.45]
["2014-03-03T09:28:43",10406.790000000001,333770.3,292425.2,41345.1,29141.93]
["Представитель абонента",null,null,null,"____________________________"]
["Представитель теплоснабжения",null,null,null,"____________________________"]